## Slide 1: Tracking New Energy Infrastructure with Fuel Stockpiles Supplement
Data as of December 31, 2016
NETL-PUB-21047

## Slide 2: Table of Contents
Introduction
Power Plant Development Projects
  Status of Proposed U.S. New Nameplate Capacity
Electric Transmission Projects
  Status of Proposed AC Electric Transmission Projects
  Status of Proposed DC Electric Transmission Projects
Natural Gas Pipeline Projects
  Status of Proposed Natural Gas Pipeline Projects
Liquefied Natural Gas Projects
  Status of Proposed Liquefied Natural Gas Projects
Fuel Stockpiles Supplement

## Slide 3: Introduction
This report provides a perspective on energy infrastructure under development as of the end of 2016, focusing on those making significant progress toward achieving commercial operation
Project states vary from announcements to under construction
The states of “Announced” or “Early Development” are not necessarily strong indicators of commitment of capital and human resources; development through operational capacity additions is highly dependent on the market environment
Projects in “Advanced Development” or “Under Construction” -“Progressing Projects”- reflect a more significant financial and human resource commitment to completion and offer a better perspective of the new capacity that may be forthcoming

## Slide 4: Tracking New Power Plants and Electric Transmission Projects
This report provides a snapshot of new power plant and electric transmission activity as of December 31, 2016 based on total nameplate capacity, proposed online year (the year the project is proposed to be operational), and fuel type for power plants for the following development status categories:
Status Listing | Description
Announced | Project has been listed in an interconnection queue and has been reported publicly or has initiated a permitting action.
Early Development | Project has formally commenced the permitting process.
Advanced Development | Project meets two or more of the following criteria: financing has been secured, power purchase agreement(s) has been signed, turbine(s) has been secured, required permits have been approved, or an Engineering, Procurement, and Construction (EPC) contractor has signed on to the project. Site preparation may have begun.
Construction Begun | Project has commenced actual construction; site preparation does not qualify.
Completed | Project has reached commercial operation.
Reported Project Status Categories and Descriptions
Source: SNL Financials and ABB Velocity Suite (12/31/2016)

## Slide 5: Tracking New Natural Gas Pipeline Projects
This report provides a current snapshot of new natural gas pipeline project activity based on proposed online year (the year the project is proposed to be operational), and capacity for the following development status categories:
Status Listing | Description
Announced | Project sponsors have publicly announced the intent to build or scope out a new pipeline.
On Hold | Project has been publically postponed by the project sponsors, possibly indefinitely, but could be reinitiated at a later date. A project can enter this status at any point in the development process.
Pre-Filing | Project has initiated the early project development process. This step details need for facility, involved parties, regulatory agencies, existing work, and public participation plan. This step is usually initiated 7-8 months before application process.
Applied | Project has initiated the formal application with the Federal Energy Regulatory Commission (FERC). FERC prepares an Environmental Impact Statement (EIS) after conferring with concerned organizations and the public to determine necessity, safety and feasibility of a project. Regulatory approval is based upon the final EIS.
Approved | Project has received a permit to construct and operate. Usually accommodated by any conditions that must be met and market rate authority. From this point, the project must still obtain Clean Air and Water Act permits and state approval, often these permits are pursued concurrently with the FERC permit process, but are also contingent upon the EIS.
Under Construction | Project has commenced actual construction; site preparation does not qualify. Facility must file monthly reports offering a summary of activity, status of outstanding permits, current project schedule and compliance with environmental conditions outlined in the approval document.
Completed | Project has reached commercial operation.
Announced | Project sponsors have publicly announced the intent to build or scope out a new pipeline.
Reported Project Status Categories and Descriptions
Source: SNL Financials and ABB Velocity Suite (12/31/2016)

## Slide 6: Tracking New Liquefied Natural Gas Projects
This report provides a current snapshot of new liquefied natural gas project activity based on proposed online year (the year the project is proposed to be operational), and capacity for the following development status categories:
Status Listing | Description
Announced | Project sponsors have publicly announced the intent to build or scope out a new facility.
Studying Feasibility | Study includes site location, marketability, need and identification of possible stakeholders. Feasibility study does not mean that the project will proceed.
On Hold | Project has been publically postponed by the project sponsors, possibly indefinitely, but could be reinitiated at a later date. A project can enter this status at any point in the development process.
Pre-Filing | Project has initiated the early project development process. This step details need for facility, involved parties, regulatory agencies, existing work, and public participation plan. This step is usually initiated 7-8 months before application process.
Applied | Project has initiated the formal application with FERC. FERC prepares an Environmental Impact Statement (EIS) after conferring with concerned organizations and the public to determine necessity, safety and feasibility of a project. Regulatory approval is based upon the final EIS.
Approved | Project has received a permit to construct and operate. Usually accommodated by any conditions that must be met and market rate authority. From this point, the project must still obtain Section 401 permits, coastal zone clearance, Clean Air and Water Act permits, and state approval, often these permits are pursued concurrently with the FERC permit process, but are also contingent upon the EIS.
Under Construction | Project has commenced actual construction; site preparation does not qualify. Facility must file monthly reports offering a summary of activity, status of outstanding permits, current project schedule and compliance with environmental conditions outlined in the approval document.
Completed | Project has reached commercial operation.
Reported Project Status Categories and Descriptions
Source: SNL Financials and ABB Velocity Suite (12/31/2016)

## Slide 7: Power Plant Development Projects
This report provides current snapshot of new power plant activity based on development status, total nameplate capacity, and proposed online year (the year the plant is proposed to be operational) for the following fuel categories:
Fuel | Description
Coal | Includes all steam based (subcritical, supercritical, ultra-supercritical, and circulated fluidized bed) and integrated gasification combined cycle units
Natural Gas (NG) | Gas Turbine (GT) (simple cycle) and Combined Cycle units. Does not include steam, internal combustion, or fuel cell units.
Wind | Wind turbine driven units
Nuclear | All reactor types
Solar | Includes both photovoltaic and steam turbine plants
Hydro | Includes both conventional, run-of-river, tidal, hydraulic turbine, and pumped storage units
Energy Storage | Includes battery storage, compressed air storage, flywheels, and others
Other | Includes biomass, landfill gas, municipal solid waste, geothermal, fuel cells, and others
Reported Fuel Categories and Descriptions
Source: SNL Financials and ABB Velocity Suite (12/31/2016)

## Slide 8: Tracking New Power Plants
This report provides comparisons of new power plant capacity from both the nameplate and capacity credit perspectives by fuel category using the regional capacity credit factors utilized in the NERC assessment process for wind and solar resources
This report assumes interconnection level average credit for areas that do not have a specified credit; Alaska and Hawaii credits are assumed equal to the Western Interconnection
Hydroelectric resources are credited at 37% across all regions
Chart: Wind Capacity Credit (%)
| FRCC | MISO | MRO-US | NE | NY | PJM | SERC - VACAR | SERC - Central | SERC - SE | SPP | TRE | CAMX | NWPP | RMPA | AZNMSN | HI | ASCC | EASTERN IC | TEXAS IC | WESTERN IC
 | 0.094373 | 0.23133 | 0.11696 | 0.15237 | 0.15209 | 0.14407 | 0.149 | 0.17629 | 0.078642 | 0.22852 | 0.194 | 0.16105 | 0.12965 | 0.17629 | 0.15544
 | 0.12965 | 0.12965 | 0.12965 | 0.15544 | 0.15544
Chart: Solar Capacity Credit (%)
| FRCC | MISO | MRO-US | NE | NY | PJM | SERC - VACAR | SERC - Central | SERC - SE | SPP | TRE | CAMX | NWPP | RMPA | AZNMSN | HI | ASCC | EASTERN IC | TEXAS IC | WESTERN IC
Capacity Credit (%) | 0.41634 | 0.3586 | 0.51746 | 0.15335 | 1 | 1 | 0.655 | 1 | 0.23285 | 0.25001 | 0.3 | 0.11503 | 0.27251 | 1 | 0.22184
Capacity Credit (%)2 | 0.27251 | 0.27251 | 0.27251 | 0.22184 | 0.22184
Regions utilizing interconnection level credit values
Source: 2015 NERC Summer Reliability Assessment

## Slide 9: Capacity Development Duration
For units entering service between 2010 and 2016, the duration from announcement to completion varied widely by technology type and fuel. Development duration is impacted by a number of factors including labor availability, component production lead times, permitting duration, market viability, etc.
Fuel | Technology Type | Development Duration (Years)*
Coal | Fluidized Bed | 3.0
 | Supercritical | 7.2
 | Subcritical | 6.5
 | Integrated Gasification Combined Cycle | 8.5
Natural Gas (NG) | Combined Cycle | 5.1
 | Combustion Turbine | 2.9
 | Fuel Cell | 2.4
 | Internal Combustion | 1.9
Petroleum | Gas Turbine | 2.8
 | Internal Combustion | 1.6
Wind | Turbine | 2.2
Fuel | Technology Type | Development Duration (Years)*
Biomass | Combined Cycle | 3.0
 | Combustion Turbine | 1.7
 | Fuel Cell | 1.3
 | Internal Combustion | 1.4
 | Fluidized Bed | 4.2
 | Subcritical | 3.5
Solar | Concentrated | 4.6
 | Thin Cell | 1.3
 | Trough | 5.4
Hydro | Francis Turbine | 4.4
 | Kaplan Turbine | 4.9
 | Pelton Turbine | 4.6
 | Pumped Storage | 10.0
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Fuel | Technology Type | Development Duration (Years)*
Geothermal | Binary Turbine | 5.9
Nuclear | Pressurized Water Reactor | 46.0
Energy Storage | Battery | 0.5
 | Flywheel | 1.0
* Capacity Weighted Average

## Slide 10: State of the U.S. Electric Generating Fleet
Chart: Generation Vintage
| Pre-1960s | 1960s | 1970s | 1980s | 1990s | 2000s | 2010s
Coal | 17788 | 41585.5 | 114591.6 | 75913.1 | 11482.1 | 7803 | 16687.78
Gas | 14707.1 | 33791.8 | 57273.9 | 15677.51 | 53228.4 | 271623.64 | 63098.51
Wind | 1.2976 | 76.9087 | 202.3871 | 5823.8842 | 7775.2529
Nuclear | 1191.8 | 43445.7 | 52640.5 | 6080.4 | 1150
Solar | 64.8723 | 21.7511 | 97.6457 | 7965.8665
Hydro | 12628.6846 | 8966.0287 | 8480.215 | 4328.0602 | 1455.3247 | 304.1437 | 684.2854
Energy Storage | 1 | 43.2 | 483.1
Other | 2279.17 | 6203.89 | 24409.21 | 11784.61 | 7902.87 | 5961.99 | 4552.42
Capacity Weighted Fleet Age (Years) |  |  |  |  |  | 
Conventional | Coal |  | 38 | Renewable | Solar | 2
 | Gas |  | 20 |  | Hydro | 52
 | Nuclear |  | 35 |  | Wind | 6
Other |  | Energy Storage |  | 3 |  | 
 |  | Other |  | 33 |  | 
*Unlike the NERC Long-Term Reliability Assessment that considers Pumped Storage to be an Energy Storage resource, this document considers Pumped Storage to be a hydroelectric resource.
**Other consists of: Petroleum, Biomass, Geothermal, Waste Heat, and Unclassified Gaseous Fuels
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016); De-rate Factors: NERC 2015 Summer Reliability Assessment
Coal, Natural Gas, Wind, Nuclear, Solar, Hydro*, Energy Storage, & Other**
Energy Storage is classified under the broader ‘Other’ category in this document because of the ambiguous nature of the power system and the inability to identify the source of the charging energy.
Notes: Without direct contracting for charging energy or coincident siting with a specific generating resource and the ability to verify that that resource is providing 100% of the charging energy, there are many methods for estimating the source of charging energy for energy storage resources, all of which have their flaws and merits. Rather than select one method over the other, this presentation opts to defer Energy Storage assets into a broader ‘Other’ category.
If the reader desires to perform this categorization, the author recommends using one of the following two methods: (1) Grid Generalization or (2) Marginal Resource Classification. Under the ‘Grid Generalization’ method, one would determine the composition of the generating fleet in operation during each charging period and would assign the amount of energy stored during that period to each resource type on a percentage basis, with the annual total reflecting the summation of these assignments for each charging period across the year. Under the Marginal Resource Classification method, one assumes that the energy storage resource represents the last increment of demand in each charging period, allowing the energy stored to be attributed to the marginal generating unit classification during the period, with the annual total reflecting the summation of these assignments across the year.

## Slide 11: Proposed U.S. New Nameplate Capacity
Chart: Proposed Online Year
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2030 | 2036 | 2050
Coal | 850 | 912 | 350 | 400
NG | 9949.6 | 25340.04 | 32395.9 | 25171.9 | 19919.2 | 7874 | 2252.5 | 648 | 1200
Wind | 8708.34 | 22498.2 | 18852.2 | 11331.7 | 11822.8 | 3004.4 | 2219 | 1500 | 765 | 2100
Nuclear | 1150 | 1550 | 2227 | 3527 | 1660 | 1600 | 50 | 2860 | 1667 | 2800 | 6470 | 2360 | 1170
Solar | 9442.47 | 9102.28 | 5212.89 | 2081.2 | 3131.6 | 100 | 2378
Hydro | 403.1 | 2444.47 | 1450.32 | 3908.5 | 1706.98 | 2774.5 | 790.6 | 495.6 | 395.6 | 1995.6 | 95.6
Energy Storage | 107 | 418.2 | 25 | 70 | 637.98 | 185 | 900
Other | 165 | 671.16 | 795.24 | 376.6 | 822.7 | 70 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal, Natural Gas, Wind, Nuclear, Solar, Hydro, Energy Storage, & Other*
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
*Other consists of: Petroleum, Biomass, Geothermal, Waste Heat, and Unclassified Gaseous Fuels
Notes: NG = Natural gas - Gas Turbines and Combined Cycle

## Slide 12: Proposed U.S. New Creditable Capacity
Chart: Proposed Online Year
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2030 | 2036 | 2050
Coal | 850 | 912 | 350 | 400
NG | 9949.6 | 25340.04 | 32395.9 | 25171.9 | 19919.2 | 7874 | 2252.5 | 648 | 1200
Wind | 1273.5544 | 3286.4718 | 2808.1196 | 1660.0136 | 1753.6025 | 516.0582 | 389.1786 | 208.1532 | 60.1611 | 407.3974
Nuclear | 1150 | 1550 | 2227 | 3527 | 1660 | 1600 | 50 | 2860 | 1667 | 2800 | 6470 | 2360 | 1170
Solar | 4026.0093 | 4646.4937 | 2091.4963 | 1034.3253 | 924.7482 | 11.5026 | 553.7247
Hydro | 149.147 | 904.4539 | 536.6184 | 1446.145 | 631.5826 | 1026.565 | 292.522 | 183.372 | 146.372 | 738.372 | 35.372
Energy Storage | 107 | 408.0839 | 25 | 70 | 637.98 | 185 | 900
Other | 165 | 671.16 | 795.24 | 376.6 | 822.7 | 70 | 49.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal, Natural Gas, Wind, Nuclear, Solar, Hydro, Energy Storage, & Other*
*Other consists of: Petroleum, Biomass, Geothermal, Waste Heat, and Unclassified Gaseous Fuels
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016); De-rate Factors: NERC 2015 Summer Reliability Assessment
Notes: NG = Natural gas - Gas Turbines and Combined Cycle

## Slide 13: Current Capacity Projects
Fuel Category |  | Number of Units | Nameplate Capacity (MW) | Creditable Capacity (MW)
Coal |  | 6 | 2,512 | 2,512
Natural Gas | Combined Cycle | 204 | 100,534 | 100,534
 | Combustion Turbine | 162 | 22,935 | 22,935
 | Internal Combustion | 112 | 1,191 | 1,191
Nuclear |  | 36 | 29,091 | 29,091
Conventional SUB TOTAL |  | 520 | 156,263 | 156,263
Solar |  | 1,122 | 31,448 | 13,288
Wind |  | 444 | 82,802 | 12,363
Hydro |  | 308 | 16,461 | 6,091
Renewable SUB TOTAL |  | 1,874 | 130,711 | 31,742
Energy Storage |  | 50 | 2,343 | 2,343
Other |  | 159 | 3,043 | 3,043
Other SUB TOTAL |  | 209 | 5,386 | 5,386
TOTAL |  | 2,603 | 292,360 | 193,391
Units proposed for entry into service after January 1, 2016
Non-Renewable Projects
Renewable Projects
*Other consists of: Biomass, Geothermal, Waste Heat, Petroleum, and Unclassified Gaseous Fuels.
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016); De-rate Factors: NERC 2015 Summer Reliability Assessment
Notes: 13

## Slide 14: Status of Proposed U.S. New Nameplate Capacity
Chart: Proposed Online Year
| Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Coal | Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Coal | Gas | Wind | Solar | Water | Energy Storage | Other | Coal | Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Coal | Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Gas | Wind | Water | Other | Gas | Wind | Nuclear | Water | Nuclear | Water | Energy Storage | Gas | Wind | Nuclear | Solar | Water | Nuclear | Water | Nuclear | Nuclear | Nuclear | Nuclear | Wind |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | '27 | '28 | '30 | '36 | '50
Completed (28.3) | 9069.9 | 7694.54 | 1150 | 7527.25 | 398.1 | 102 | 153.9 | 1327.7 | 674 | 187.46 | 32 | 0 | 0 | 0 | 0 | 0 | 0
Construction Begun (48.6) | 879.7 | 593.8 | 556.33 | 0 | 13798.48 | 5783.5 | 2289.26 | 131.32 | 86.7 | 152.6 | 17 | 13777 | 833 | 60.4 | 316.84 | 980 | 2227 | 0 | 3150 | 2227 | 2 | 0 | 0 | 695 | 0
Advanced Development (37.9) | 100 | 380.64 | 0 | 1865 | 1859.19 | 2339.71 | 185.67 | 270 | 199.6 | 895 | 2363 | 1787 | 2603.3 | 180.24 | 145.5 | 7555.7 | 849 | 391.6 | 590.3 | 42 | 400 | 3370.5 | 913 | 760.8 | 316.68 | 0 | 194.4 | 0 | 1055 | 750 | 0 | 750 | 1260 | 1117 | 1117 | 1260
Early Development (121.3) | 20 | 918.56 | 5 | 5 | 9.5 | 5271.86 | 9047.61 | 2918.68 | 375.18 | 10 | 307.76 | 12587.9 | 8688.2 | 2176.09 | 509.68 | 25 | 290.7 | 15936.2 | 6110.9 | 1396.2 | 1784.2 | 70 | 298 | 12015.7 | 3560.5 | 1300 | 1258.8 | 1649.3 | 321.3 | 821.9 | 6180 | 1900 | 1660 | 2197.1 | 185 | 70 | 853.5 | 1209 | 95.6 | 49.9 | 200 | 50 | 1600 | 495.6 | 50 | 395.6 | 900 | 1200 | 1600 | 2378 | 695.6 | 550 | 95.6 | 1100 | 3653 | 1100 | 1170
Postponed (20.7) | 250 | 0 | 850 | 3077 | 1284.8 | 1550 | 838.98 | 648.9 | 3.2 | 2434 | 500 | 0 | 350 | 563 | 300 | 1509 | 0 | 823 | 80 | 300 | 28.18 | 0 | 910 | 100 | 0 | 200 | 0 | 700 | 1700 | 1700
Announced (35.6) | 50 | 59.69 | 1.6 | 3849.1 | 528.19 | 1103.4 | 19.5 | 8 | 1234 | 7044 | 433.5 | 700 | 42.2 | 137 | 4071.8 | 293.4 | 25 | 36.6 | 560 | 7269.3 | 810 | 29.5 | 0.8 | 1694 | 577.4 | 0 | 344 | 60 | 0 | 448 | 765 | 1300 | 2100
*292.4 GW in total
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Coal, Natural Gas, Wind, Nuclear, Solar, Hydro, Energy Storage, Other*
*Other consists of: Petroleum, Biomass, Geothermal, Waste Heat, and Unclassified Gaseous Fuels
Notes: NG = Natural gas - Gas Turbines and Combined Cycle

## Slide 15: Status of Proposed U.S. New Creditable Capacity
Chart: Proposed Online Year
| Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Coal | Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Coal | Gas | Wind | Solar | Water | Energy Storage | Other | Coal | Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Coal | Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Gas | Wind | Nuclear | Solar | Water | Energy Storage | Other | Gas | Wind | Water | Other | Gas | Wind | Nuclear | Water | Nuclear | Water | Energy Storage | Gas | Wind | Nuclear | Solar | Water | Nuclear | Water | Nuclear | Nuclear | Nuclear | Nuclear | Wind |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | '27 | '28 | '30 | '36 | '50
Completed (16.2) | 9069.9 | 1156.648 | 1150 | 2940.6692 | 147.297 | 102 | 153.9 | 1327.7 | 100.426 | 43.7565 | 32 | 0 | 0 | 0 | 0 | 0 | 0
Construction Begun (40.6) | 879.7 | 71.1701 | 327.4935 | 0 | 13798.48 | 860.2493 | 1320.97 | 48.5884 | 76.5839 | 152.6 | 17 | 13777 | 114.4766 | 22.348 | 316.84 | 980 | 2227 | 0 | 3150 | 2227 | 0.545 | 0 | 0 | 257.15 | 0
Advanced Development (27.8) | 9.4373 | 281.0528 | 0 | 1865 | 248.6654 | 1360.0886 | 68.6979 | 270 | 199.6 | 895 | 2363 | 314.655 | 913.1797 | 66.6888 | 145.5 | 7555.7 | 148.8367 | 217.0969 | 218.411 | 42 | 400 | 3370.5 | 173.8256 | 177.1546 | 316.68 | 0 | 44.4251 | 0 | 1055 | 145.4991 | 0 | 145.4991 | 1260 | 1117 | 1117 | 1260
Early Development (83.7) | 2.3393 | 447.8172 | 1.85 | 5 | 9.5 | 5271.86 | 1327.0871 | 1293.6112 | 138.8166 | 10 | 307.76 | 12587.9 | 1340.5565 | 1071.2732 | 188.5816 | 25 | 290.7 | 15936.2 | 897.0554 | 737.3199 | 660.154 | 70 | 298 | 12015.7 | 517.339 | 1300 | 550.0766 | 610.241 | 321.3 | 821.9 | 6180 | 332.9795 | 1660 | 812.927 | 185 | 70 | 853.5 | 208.542 | 35.372 | 49.9 | 200 | 7.6047 | 1600 | 183.372 | 50 | 146.372 | 900 | 1200 | 1600 | 553.7247 | 257.372 | 550 | 35.372 | 1100 | 3653 | 1100 | 1170
Postponed (14.7) | 29.2411 | 0 | 850 | 3077 | 214.5553 | 1550 | 218.3616 | 240.093 | 3.2 | 2434 | 77.0743 | 0 | 350 | 563 | 45.6284 | 558.33 | 0 | 823 | 12.1676 | 34.5078 | 10.4266 | 0 | 138.6537 | 11.5026 | 0 | 30.4189 | 0 | 55.0494 | 1700 | 1700
Announced (10.3) | 4.7187 | 28.9766 | 1.6 | 535.4887 | 409.7059 | 408.258 | 19.5 | 8 | 1234 | 961.3572 | 107.0433 | 259 | 42.2 | 137 | 568.4931 | 79.9086 | 9.25 | 36.6 | 560 | 1050.2703 | 162.4641 | 10.915 | 0.8 | 1694 | 213.638 | 0 | 344 | 4.7185 | 0 | 448 | 60.1611 | 481 | 407.3974
*193.4 GW in total
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016); De-rate Factors: NERC 2015 Summer Reliability Assessment
Coal, Natural Gas, Wind, Nuclear, Solar, Hydro, Energy Storage, Other*
*Other consists of: Petroleum, Biomass, Geothermal, Waste Heat, and Unclassified Gaseous Fuels
Notes: NG = Natural gas - Gas Turbines and Combined Cycle

## Slide 16: Current Uncertain Capacity Projects
General Status |  | Announced |  |  | Postponed |  |  | Early Development |  | 
 |  | Number of Plants | Nameplate Capacity (MW) | Creditable Capacity (MW) | Number Of Plants | Nameplate Capacity (MW) | Creditable Capacity (MW) | Number Of Plants | Nameplate Capacity (MW) | Creditable Capacity (MW)
Coal |  | — | — | — | 2 | 1,200 | 1,200 | — | — | —
Natural Gas | Combined Cycle | 4 | 2,497 | 2,497 | 11 | 6,437 | 6,437 | 59 | 40,698 | 40,698
 | Combustion Turbine | 12 | 1,920 | 1,920 | 2 | 460 | 460 | 83 | 13,385 | 13,385
 | Internal Combustion | — | — | — | — | — | — | 23 | 153 | 153
Nuclear |  | — | — | — | 3 | 4,950 | 4,950 | 24 | 13,783 | 13,783
Conventional SUB TOTAL |  | 16 | 4,417 | 4,417 | 18 | 13,047 | 13,047 | 189 | 68,019 | 68,019
Solar |  | 54 | 2,125 | 788 | 17 | 1,239 | 264 | 269 | 11,046 | 4,654
Wind |  | 82 | 25,209 | 3,593 | 17 | 4,225 | 603 | 160 | 30,586 | 4,634
Hydro |  | 22 | 3,735 | 1,382 | 30 | 2,186 | 809 | 119 | 8,298 | 3,070
Renewable SUB TOTAL |  | 158 | 31,069 | 5,763 | 64 | 7,650 | 1,676 | 548 | 49,930 | 12,358
Energy Storage |  | 3 | 20 | 20 | — | — | — | 20 | 1,516 | 1,516
Other |  | 13 | 89 | 89 | 1 | 3 | 3 | 47 | 1,858 | 1,858
Other SUB TOTAL |  | 16 | 109 | 109 | 1 | 3 | 3 | 67 | 3,374 | 3,374
Uncertain SUB TOTAL |  | 190 | 35,595 | 10,289 | 83 | 20,700 | 14,726 | 804 | 121,323 | 83,751
Units proposed for entry into service after January 1, 2016
Non-Renewable Projects
Renewable Projects
*Other consists of: Biomass, Petroleum, Geothermal, Waste Heat, and Unclassified Gaseous Fuels.
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016); De-rate Factors: NERC 2015 Summer Reliability Assessment
Notes: 16

## Slide 17: Current Progressing Capacity Projects
General Status |  | Advanced Development |  |  | Construction Begun |  |  | Completed |  | 
 |  | Number of Plants | Nameplate Capacity (MW) | Creditable Capacity (MW) | Number Of Plants | Nameplate Capacity (MW) | Creditable Capacity (MW) | Number Of Plants | Nameplate Capacity (MW) | Creditable Capacity (MW)
Coal |  | 3 | 1,295 | 1,295 | 1 | 17 | 17 | — | — | —
Natural Gas | Combined Cycle | 23 | 12,977 | 12,977 | 41 | 30,623 | 30,623 | 15 | 7,303 | 7,303
 | Combustion Turbine | 23 | 2,923 | 2,923 | 22 | 1,785 | 1,785 | 20 | 2,463 | 2,463
 | Internal Combustion | 15 | 246 | 246 | 18 | 177 | 177 | 56 | 615 | 615
Nuclear |  | 4 | 4,754 | 4,754 | 4 | 4,454 | 4,454 | 1 | 1,150 | 1,150
Conventional SUB TOTAL |  | 68 | 22,195 | 22,195 | 86 | 37,056 | 37,056 | 92 | 11,531 | 11,531
Solar |  | 232 | 6,476 | 2,949 | 147 | 2,848 | 1,649 | 403 | 7,715 | 2,984
Wind |  | 39 | 7,203 | 1,231 | 66 | 7,210 | 1,046 | 80 | 8,369 | 1,257
Hydro |  | 43 | 956 | 354 | 53 | 887 | 328 | 41 | 398 | 147
Renewable SUB TOTAL |  | 314 | 14,635 | 4,534 | 266 | 10,945 | 3,023 | 524 | 16,482 | 4,388
Energy Storage |  | 4 | 587 | 587 | 8 | 87 | 77 | 15 | 134 | 134
Other |  | 15 | 450 | 450 | 23 | 469 | 469 | 60 | 172 | 172
Other SUB TOTAL |  | 19 | 1,037 | 1,037 | 31 | 556 | 546 | 75 | 306 | 306
Likely SUB TOTAL |  | 401 | 37,867 | 27,766 | 383 | 48,557 | 40,625 | 691 | 28,319 | 16,225
Units proposed for entry into service after January 1, 2016
Non-Renewable Projects
Renewable Projects
*Other consists of: Biomass, Petroleum, Geothermal, Waste Heat, and Unclassified Gaseous Fuels
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016); De-rate Factors: NERC 2015 Summer Reliability Assessment
Notes: 17

## Slide 18: Electric Transmission Projects*
Many generator interconnections often require the parallel development of transmission infrastructure to achieve operation and grid interconnection. These projects often have their own timelines and can lead to delays in generator operation.
If a significant amount of the uncertain capacity fails to develop, the need for additional transmission infrastructure to deliver output from existing capacity and to maintain reliability may arise.
Similar to generation, transmission project development duration is impacted by a number of factors including labor availability, component production lead times, permitting duration, market viability, etc.
Typical Project Timeline for New Transmission
24 – 36 Months
Planning & Engineering
12 – 18 Months
Environmental Studies
24 – 36 Months
Permits & Approvals
24 – 36 Months
Construction
7 – 10.5 Years
*Bulk Electric System Only
Source: Edison International, Getting to Know Renewable Energy (2012) http://inside.edison.com/content/inside/2012/08-12/gtk-8-12.html

## Slide 19: Status of Proposed AC Electric Transmission Projects*
Chart: Proposed Online Year & Voltage Level
| 115 | 120 | 138 | 161 | 230 | 345 | 500 | 765 | 69 | 115 | 138 | 161 | 230 | 320 | 345 | 500 | 115 | 138 | 161 | 230 | 320 | 345 | 500 | 765 | 115 | 120 | 138 | 161 | 220 | 230 | 345 | 115 | 138 | 161 | 220 | 230 | 345 | 450 | 500 | 600 | 765 | 70 | 115 | 138 | 220 | 230 | 345 | 500 | 600 | 115 | 230 | 345 | 500 | 230 | 345 | 500 | 450 | 500 | 161 | 345 | 765 | 500 | 230 |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | '26 | '27 | '30
Announced | 20 | 23 | 11 | 142 | 88 | 55 | 77 | 89 | 157.4 | 154 | 219 | 18 | 57 | 50 | 165 | 93 | 316 | 170 | 55 | 108.3 | 14 | 240 | 41 | 3.8 | 40 | 110.18 | 58 | 114 | 40 | 17 | 85 | 59 | 107 | 219 | 86 | 125 | 525 | 6 | 60
Early Development | 119 | 25 | 43 | 87 | 171 | 7 | 54 | 147 | 15 | 1478.5 | 80 | 26 | 11 | 201 | 70 | 15 | 163 | 230 | 547 | 371 | 69 | 15 | 101 | 223 | 67 | 10 | 10 | 7 | 276 | 107 | 125 | 459 | 900 | 3045 | 7 | 12 | 3 | 54 | 210 | 44 | 344 | 475 | 24 | 638 | 60 | 420 | 43
Advanced Development | 28 | 19 | 123 | 275 | 2 | 11 | 76 | 175.4 | 47 | 51 | 155 | 115 | 484 | 89 | 61 | 87 | 124 | 360 | 74 | 405 | 1355 | 48 | 20 | 780
Construction Begun | 17 | 200.3 | 16 | 249.64 | 242 | 225 | 7 | 119 | 77 | 121 | 561 | 44 | 45 | 299 | 556 | 65 | 70 | 11 | 308 | 17 | 21 | 2 | 103 | 30
Completed | 8
Postponed | 70
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
*24,005 AC miles in total, Bulk Electric System Only

## Slide 20: Current AC Electric Transmission Projects*
General Status | Sub-100 kV |  | 115 kV |  | 120 kV |  | 138 kV |  | 161 kV | 
 | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage
Completed | 18 | 384.5 | 149 | 3,704.4 | 3 | 45 | 108 | 2,441.8 | 38 | 935.6
Construction Begun | ― | ― | 14 | 283.0 | ― | ― | 14 | 472.3 | 1 | 16.0
Certain SUB TOTAL | 18 | 384.5 | 163 | 3,987.44 | 3 | 45.0 | 122 | 2,914.1 | 39 | 951.6
Advanced Development | 1 | 2.0 | 5 | 92.0 | ― | ― | 19 | 470 | ― | ―
Postponed | ― | ― | 2 | 26.0 | ― | ― | ― | ― | 1 | 20.0
Early Development | 1 | 7.0 | 28 | 641.0 | 3 | 40.0 | 24 | 425.0 | 2 | 30.0
Announced | ― | ― | 28 | 622.0 | ― | ― | 17 | 272.4 | 12 | 260.3
Uncertain SUB TOTAL | 2 | 9.0 | 63 | 1,381.0 | 3 | 40.0 | 60 | 1,167.4 | 15 | 310.3
TOTAL | 20 | 393.5 | 226 | 5,368.4 | 6 | 95.0 | 182 | 4,081.5 | 54 | 1,261.7
Uncertain Projects
*Bulk Electric System Only
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Certain Projects
Notes: 20

## Slide 21: Current AC Electric Transmission Projects*
General Status | 220 kV |  | 230 kV |  | 250 kV |  | 320 kV |  | 345 kV | 
 | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage
Completed | 9 | 184.0 | 1,689 | 55,917.3 | 2 | 465.4 | ― | ― | 1,087 | 49,883.5
Construction Begun | ― | ― | 21 | 813.6 | ― | ― | ― | ― | 21 | 1,669.0
Certain SUB TOTAL | 9 | 184.0 | 1,710 | 56,730.9 | 2 | 465.4 | ― | ― | 1,108 | 51,552.5
Advanced Development | 4 | 135.0 | 25 | 593.4 | ― | ― | ― | ― | 24 | 1,545.0
Postponed | ― | ― | 5 | 183.0 | ― | ― | ― | ― | 3 | 44.0
Early Development | 2 | 7.0 | 49 | 2,690.5 | ― | ― | 2 | 310.0 | 28 | 2,161.0
Announced | ― | ― | 42 | 1,304.6 | ― | ― | 1 | 36.0 | 31 | 1,710.0
Uncertain SUB TOTAL | 6 | 142.0 | 121 | 4,771.5 | ― | ― | 3 | 346.0 | 86 | 5,460.0
TOTAL | 15 | 326.0 | 1,831 | 61,502.5 | 2 | 465.4 | 3 | 346.0 | 1,194 | 57,012.5
Uncertain Projects
*Bulk Electric System Only
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Certain Projects
Notes: 21

## Slide 22: Current AC Electric Transmission Projects*
Certain Projects
General Status | 450 kV |  | 500 kV |  | 525 kV |  | 600 kV |  | 765 kV | 
 | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage
Completed | 4 | 211.6 | 441 | 26,352.3 | 12 | 567.2 | ― | ― | 33 | 2,367.8
Construction Begun | ― | ― | 3 | 290.0 | ― | ― | ― | ― | 2 | 77.0
Certain SUB TOTAL | 4 | 211.6 | 444 | 26,642.3 | 12 | 567.2 | ― | ― | 35 | 2444.8
Advanced Development | ― | ― | 12 | 1,855.0 | ― | ― | ― | ― | ― | ―
Postponed | ― | ― | 3 | 1,646.0 | ― | ― | ― | ― | 1 | 270.0
Early Development | 2 | 149.0 | 27 | 2,670.0 | ― | ― | 1 | 900.0 | 17 | 3,472.0
Announced | ― | ― | 10 | 1,090.0 | ― | ― | ― | ― | 5 | 591.0
Uncertain SUB TOTAL | 2 | 149.0 | 52 | 7,261.0 | ― | ― | 1 | 900.0 | 23 | 4,333.0
TOTAL | 6 | 360.6 | 496 | 33,903.3 | 12 | 567.2 | 1 | 900.0 | 58 | 6,777.8
Uncertain Projects
*Bulk Electric System Only
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Notes: 22

## Slide 23: Status of Proposed DC Electric Transmission Projects*
Chart: Proposed Online Year & Voltage Level
| 500 | 230 | 320 | 345 | 500 | 115 | 200 | 600 | 320 | 500 | 600 | 200 | 230 | 320 | 600 | 320 | 500 | 320 | 230 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | '22 | '23 | '24 | '25
Announced | 53 | 2189 | 100
Early Development | 15 | 98 | 8 | 500 | 280 | 79 | 60 | 150 | 260 | 246
Advanced Development | 19 | 333 | 8 | 730 | 154 | 700 | 400
Construction Begun | 860
Completed
Postponed
*7,242 DC miles in total, Bulk Electric System Only
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Notes: NG = Natural gas - Gas Turbines and Combined Cycle

## Slide 24: Current DC Electric Transmission Projects*
General Status | 115 kV |  | 150 kV |  | 200 kV |  | 230 kV |  | 320 kV | 
 | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage
Completed | ― | ― | 1 | 24.0 | 1 | 53.0 | ― | ― | ― | ―
Construction Begun | ― | ― | ― | ― | ― | ― | ― | ― | ― | ―
Certain SUB TOTAL | ― | ― | 1 | 24.0 | 1 | 53.0 | ― | ― | ― | ―
Advanced Development | ― | ― | 1 | 31.0 | ― | ― | 1 | 19.0 | 2 | 487.0
Postponed | ― | ― | ― | ― | ― | ― | ― | ― | ― | ―
Early Development | 1 | 8.0 | ― | ― | 1 | 79.0 | 2 | 75.0 | 6 | 936.0
Announced | ― | ― | ― | ― | 1 | 2,189.0 | 1 | 100.0 | ― | ―
Uncertain SUB TOTAL | 1 | 8.0 | 1 | 31.0 | 2 | 2,268.0 | 4 | 194.0 | 8 | 1,423.0
TOTAL | 1 | 8.0 | 2 | 55.0 | 3 | 2,321.0 | 4 | 194.0 | 8 | 1,423.0
Uncertain Projects
*Bulk Electric System Only
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Certain Projects
Notes: 24

## Slide 25: Current DC Electric Transmission Projects*
General Status | 345 kV |  | 500 kV |  | 600 kV |  | 1,000 kV | 
 | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage | Number of Projects | Mileage
Completed | 2 | 143.9 | 2 | 111.1 | ― | ― | 2 | 847.0
Construction Begun | ― | ― | 1 | 860.0 | ― | ― | ― | ―
Certain SUB TOTAL | 2 | 143.9 | 3 | 971.1 | ― | ― | 2 | 847.0
Advanced Development | ― | ― | 2 | 408.0 | 3 | 2,210.0 | ― | ―
Postponed | ― | ― | ― | ― | ― | ― | ― | ―
Early Development | 1 | 98.0 | ― | ― | 1 | 500.0 | ― | ―
Announced | ― | ― | 1 | 53.0 | ― | ― | ― | ―
Uncertain SUB TOTAL | 1 | 98.0 | 3 | 461.0 | 4 | 2,710.0 | ― | ―
TOTAL | 3 | 241.9 | 6 | 1,432.1 | 4 | 2,710.0 | 2 | 847.0
Uncertain Projects
*Bulk Electric System Only
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Certain Projects
Notes: 25

## Slide 26: Natural Gas Pipeline Projects
Given the expected buildout of new natural gas power generation, the time required to develop natural gas pipeline infrastructure should also be considered in parallel to capacity and transmission development in estimating when a unit will achieve operation and grid interconnection.
Unlike other fuel infrastructures that are demand responsive, the source-to-sink nature of the natural gas system and costs involved in pipeline construction trigger advance utilization planning and contracts prior to development.
Typical Transmission Project Timeline for New Transmission
Typical Project Timeline for New Interstate Pipeline
Source: FERC timeline: Traditional vs. Pre-filing. [Online] n.d. [Cited: November 19, 2014].
Adapted from http://www.fs.fed.us/specialuses/documents/im2003-197attach3.pdf.

## Slide 27: Status of Proposed Natural Gas Pipeline Projects
Chart: Proposed Online Year & Type
| Compressor Station | Expansion/Interconnect | Extention of System | Import/Export | Interconnection | Interstate Expansion | Intrastate New | Lateral | New Markets | Power Generation | Compressor Station | Expansion/Interconnect | Export | Extention of System | Import | Interstate Expansion | Lateral | New Interstate | Replacement/upgrades | Compressor Station | Expansion/Interconnect | Extention of System | Import/Export | Interconnection | Interstate Expansion | New Interstate | Export | Interconnection | Interstate Expansion | Lateral | Export | Interstate Expansion | New Interstate | Interstate Expansion | New Interstate | Export | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | '22
Pre-Filing | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.1596 | 0 | 0 | 0 | 0 | 0 | 0 | 2023.6453 | 77.8325 | 911.33 | 0 | 0 | 0 | 394.0887 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Announced | 0 | 0 | 0 | 0 | 0 | 197.0443 | 0 | 0 | 1182.266 | 0 | 0 | 0 | 0 | 0 | 179.3103 | 0 | 0 | 0 | 0 | 0 | 197.0443 | 0 | 0 | 0 | 1684.7291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Applied | 0 | 344.8276 | 0 | 0 | 0 | 0 | 0 | 252.2167 | 0 | 0 | 197.0443 | 2913.3025 | 1083.7438 | 177.3399 | 0 | 1586.2069 | 0 | 5874.8768 | 235.468 | 1379.3103 | 467.9803 | 0 | 0 | 0 | 4039.7389 | 6108.3744 | 2955.665 | 0 | 0 | 1871.9212 | 4433.4975 | 0 | 0 | 0 | 0 | 1970.4433
Approved | 110.3448 | 130.0493 | 0 | 0 | 0 | 1079.9015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018.1379 | 1625.6158 | 630.5419 | 0 | 0 | 0 | 0 | 0 | 0 | 14876.8473 | 0 | 0 | 0 | 0 | 0 | 0 | 203.6059 | 166.5025 | 105.0837 | 74.8768 | 0
Under Construction | 788.1773 | 0 | 0 | 1280.7882 | 336.9458 | 768.4729 | 0 | 226.601 | 0 | 189.1626 | 0 | 0 | 0 | 0 | 0 | 635.468 | 441.3793 | 817.734 | 0 | 0 | 0 | 1477.8325 | 0 | 0 | 0 | 0 | 0 | 2216.7488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operational | 234.4828 | 1182.266 | 886.6995 | 0 | 0 | 172.4138 | 837.4384 | 201.9704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 197.0443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
*22,855 miles/76.7 Bcf in total
189 MMcf designated specifically
for Power Generation
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Notes: NG = Natural gas - Gas Turbines and Combined Cycle

## Slide 28: Current Natural Gas Pipeline Projects
Certain Projects
General Status | Compressor Station |  |  | Expansion/Interconnect |  |  | Import/Export |  | 
 | Number of Projects | Mileage | Capacity Added (MMcf) | Number of Projects | Mileage | Capacity Added (MMcf) | Number of Projects | Mileage | Capacity Added (MMcf)
Completed | 1 | 0.0 | 234.7 | 1 | 0 | 1,183.4 | ― | ― | ―
Under Construction | 1 | 0.0 | 789.0 | 2 | 44.4 | 2,556.2 | 1 | 1.0 | 1,282.1
Approved | 1 | 0.0 | 110.5 | 1 | 0 | 130.2 | ― | ― | ―
Certain SUB TOTAL | 3 | 0.0 | 1,134.1 | 4 | 44.4 | 3,869.8 | 1 | 1.0 | 1,282.1
Applied | 3 | 1.4 | 1,709.4 | 7 | 459.5 | 4,120.3 | 6 | 962.5 | 13,017.8
Pre-Filing | ― | ― | ― | 1 | 14.0 | 77.9 | 1 | 470.0 | 2,025.6
Announced | ― | ― | ― | 2 | 22.0 | 197.2 | 1 | 125.0 | 179.5
Uncertain SUB TOTAL | 3 | 1.4 | 1,709.4 | 10 | 495.5 | 4,395.5 | 8 | 1,557.5 | 15,222.9
TOTAL | 6 | 1.4 | 2,843.5 | 14 | 539.9 | 8,265.3 | 9 | 1,558.5 | 16,504.9
Uncertain Projects
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Notes: 28

## Slide 29: Current Natural Gas Pipeline Projects
Certain Projects
General Status | Extension of System |  |  | Power Generation |  |  | Replacement/Upgrades |  | 
 | Number of Projects | Mileage | Capacity Added (MMcf) | Number of Projects | Mileage | Capacity Added (MMcf) | Number of Projects | Mileage | Capacity Added (MMcf)
Completed | 1 | 50.0 | 887.6 | ― | ― | ― | ― | ― | ―
Under Construction | 1 | 86.9 | 1,479.3 | 1 | 11.2 | 189.3 | ― | ― | ―
Approved | ― | ― | ― | ― | ― | ― | ― | ― | ―
Certain SUB TOTAL | 1 | 136.9 | 2,366.9 | 1 | 11.2 | 189.3 | ― | ― | ―
Applied | 1 | 0.0 | 177.5 | ― | ― | ― | 2 | 70.2 | 235.7
Pre-Filing | ― | ― | ― | ― | ― | ― | ― | ― | ―
Announced | ― | ― | ― | ― | ― | ― | 1 | 13,000.0 | 0.0
Uncertain SUB TOTAL | 1 | 0.0 | 177.5 | ― | ― | ― | 3 | 13,070.2 | 235.7
TOTAL | 3 | 136.9 | 2,544.4 | 1 | 11.2 | 189.3 | 3 | 13,070.2 | 235.7
Uncertain Projects
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Notes: 29

## Slide 30: Current Natural Gas Pipeline Projects
Certain Projects
General Status | New Interstate |  |  | Interstate Expansion |  |  | New Intrastate |  | 
 | Number of Projects | Mileage | Capacity Added (MMcf) | Number of Projects | Mileage | Capacity Added (MMcf) | Number of Projects | Mileage | Capacity Added (MMcf)
Completed | 2 | 55.7 | 197.2 | 1 | 1.0 | 172.6 | 1 | 205.0 | 838.3
Under Construction | 1 | 516.2 | 818.5 | 4 | 15.3 | 1,405.3 | ― | ― | ―
Approved | 3 | 126.0 | 872.8 | 14 | 174.4 | 18,301.6 | ― | ― | ―
Certain SUB TOTAL | 6 | 697.9 | 1,888.6 | 19 | 190.7 | 19,879.5 | 1 | 205.0 | 838.3
Applied | 8 | 2,347.9 | 11,995.1 | 7 | 324.9 | 5,631.5 | ― | ― | ―
Pre-Filing | ― | ― | ― | 3 | 182.1 | 1,391.9 | ― | ― | ―
Announced | 1 | 320.0 | 0 | 5 | 88.0 | 1,883.6 | ― | ― | ―
Uncertain SUB TOTAL | 9 | 2,667.9 | 11,995.1 | 15 | 595.0 | 8,907.1 | ― | ― | ―
TOTAL | 15 | 3,365.8 | 13,883.6 | 34 | 785.7 | 28,786.6 | 1 | 205.0 | 838.3
Uncertain Projects
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Notes: 30

## Slide 31: Current Natural Gas Pipeline Projects
Certain Projects
General Status | New Lateral |  |  | New Market Access |  | 
 | Number of Projects | Mileage | Capacity Added (MMcf) | Number of Projects | Mileage | Capacity Added (MMcf)
Completed | 1.0 | 5.0 | 202.2 | ― | ― | ―
Under Construction | 2.0 | 133.7 | 668.6 | ― | ― | ―
Approved | 4.0 | 24.9 | 1,804.7 | ― | ― | ―
Certain SUB TOTAL | 7 | 163.6 | 2,675.5 | ― | ― | ―
Applied | 3 | 89.5 | 2,126.2 | ― | ― | ―
Pre-Filing | ― | ― | ― | ― | ― | ―
Announced | ― | ― | ― | 1 | 250.0 | 1,183.4
Uncertain SUB TOTAL | 3 | 89.5 | 2,126.2 | 1 | 250.0 | 1,183.4
TOTAL | 10 | 253.1 | 4,801.8 | 1 | 250.0 | 1,183.4
Uncertain Projects
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Notes: 31

## Slide 32: Liquefied Natural Gas Projects
In the age of abundant natural gas, many entities have decided to pursue construction of liquefied natural gas (LNG) export facilities. The volumes of gas utilized by these facilities represent a major domestic end use source and price driver.
Unlike other fuel projects that are domestic use only, LNG terminals trigger advance consideration of international markets, utilization planning, and contracts prior to development.
Typical Transmission Project Timeline for New Transmission
Typical Project Timeline for New Liquefied Natural Gas Terminal
Source: FERC timeline: Traditional vs. Pre-filing. [Online] n.d. [Cited: November 19, 2014].
Adapted from http://www.fs.fed.us/specialuses/documents/im2003-197attach3.pdf.

## Slide 33: Status of Proposed Liquefied Natural Gas Projects
Chart: Proposed Online Year & Type
| Export Terminal | Export Terminal | Export Terminal | Export Terminal | Export Terminal | Export Terminal | Export Terminal | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2023
Pre-Filing | 2.8 | 2.5876 | 0.7
Applied | 1.5 | 1.725 | 5.9688 | 0.92711 | 1.8
Approved | 1.4 | 2.0035 | 0.0014
Under Construction | 4.7349 | 4.6781 | 2.001
Operational | 1.2
On Hold | 3.07
*24.6 Bcf/d in total
Derived from data found on: SNL Financials and ABB Velocity Suite (12/31/2016)
Notes: NG = Natural gas - Gas Turbines and Combined Cycle

## Slide 34: Fuel Stockpiles Supplement
Unlike natural gas and some other liquid fuels that are utilized by the power sector, a large quantity of coal is continually maintained in on-site stockpiles at coal-fired power generators to ensure reliability and continued plant operation
While natural gas is used for power, natural gas storage is primarily leveraged by pipeline operators and local distribution companies (LDCs) to ensure reliable pipeline pressures and to meet a regulated LDC utility’s obligation to serve
Petroleum product stockpiles are primarily used for market balancing

## Slide 35: After reaching decade highs earlier this year, utility coal stockpiles have returned to near decade average
Chart: Implied Utility Coal Stockpiles by Origin (Days of Burn)
Derived from: ABB Velocity Suite Monthly Plant Estimated Coal Stockpile & Monthly Plant Coal Transactions & Costs Intelligent Queries through October 2016 (12/31/2016)
*Other US: Southern Appalachia, West/Northwest, and Central Interior
*Imports: Australia, Indonesia, Venezuela, Columbia, Russia, and Others

## Slide 36: After reaching decade highs earlier this year, utility coal stockpiles have returned to near decade average
Chart: Implied Utility Coal Stockpiles (Days of Burn)
Chart: Implied Utility Coal Stockpiles (Days of Burn)
Chart: Implied Utility Coal Stockpiles (Days of Burn)
Chart: Implied Utility Coal Stockpiles (Days of Burn)
Derived from: ABB Velocity Suite Monthly Plant Estimated Coal Stockpile & Monthly Plant Coal Transactions & Costs Intelligent Queries through October 2016 (12/31/2016)

## Slide 37: After reaching decade highs earlier this year, utility coal stockpiles have returned to near decade average
Chart: Implied Utility Coal Stockpiles (Days of Burn)
Chart: Implied Utility Coal Stockpiles (Days of Burn)
Chart: Implied Utility Coal Stockpiles (Days of Burn)
Chart: Implied Utility Coal Stockpiles (Days of Burn)
Derived from: ABB Velocity Suite Monthly Plant Estimated Coal Stockpile & Monthly Plant Coal Transactions & Costs Intelligent Queries through October 2016 (12/31/2016)

## Slide 38: Natural gas storage levels are at their highest levels this decade
Chart: Estimated Natural Gas Storage (Bcf)
Source: EIA Weekly Natural Gas Storage Report through December 2016, http://ir.eia.gov/ngs/ngs.html (12/31/2016)

## Slide 39: U.S. petroleum stockpiles have fallen by about 25% since the start of the decade
Chart: U.S. Petroleum Product Stockpiles (MMBBl)
Source: ABB Velocity Suite State Monthly Fuel Stockpile Intelligent Queries through November 2016 (12/31/2016)

## Slide 40
Questions/Comments Contact:
John Brewer
Systems Engineering and Analysis Directorate
Energy Systems Analysis Team
John.Brewer@netl.doe.gov
(304) 285 – 4858